## Frontpage
Software Design Specification Document Lifeline Reports This document defines commands that must be sent via the Lifeline Association Group when a change occured. Refer to the "Lifeline Reports" tab in this workbook for the requirements.
DOCUMENTATION DISCLAIMER
Trademark Notice
©2021 Z-Wave Alliance, Inc. All Rights Reserved
License Restrictions Warranty/Consequential Damages Disclaimer
This document is the property of the Z-Wave Alliance, Inc. The data contained herein, in whole or in part, may not be duplicated, used or disclosed outside the recipient for any purpose. This restriction does not limit the recipient's right to use information contained in the data if it is obtained from another source without restriction.

## Changes
Revision Record
Doc. Revision | Change by | Date | Comment
1 | Nicolas Obriot | 2018-01-25 | Initial revision
2 | Nicolas Obriot | 2018-04-05 | Updated document with Silicon Labs template
3 | Nicolas Obriot | 2019-01-01 | Added new commands in the list of mandatory reports: - User Code v2 commands - Clock Report - Central Scene v3 commands
4 | Nicolas Obriot | 2019-04-01 | Relaxed the requirement level to SHOULD for Indicator Command Class

## Lifeline Reports
Lifeline minimum mandatory reports when changes have occured
Command Class | Command | Conditions and triggers
Barrier Operator | Barrier Operator Report | This command MUST be issued by a node when the barrier has finished a transition (e.g. from Open to Close) and reached a final state
| Barrier Operator Event signaling Report | This command MUST be issued when a subsystem state has changed.
Battery | Battery Report | This command MUST be issued periodically to report the current battery level. The frequency is up to the implementation
| Battery Report | This command MUST be issued by a node when its battery becomes low and the end user needs to reload or replace the battery. The Battery Level field MUST be set to 0xFF to indicate a low battery warning.
Binary Switch | Binary Switch Report | This command MUST be issued when the binary switch value has changed (and reached a final state)
Central Scene | Central Scene Notification | This command MUST be issued by a node when a user actuated a Scene Notification button/method on the supporting node.
| Central Scene Configuration Report | This command MUST be issued by a node when its Central Scene Configuration has changed.
Clock | Clock Report | This command MUST be issued when the clock setting has been modified.
Color Switch | Color Switch Report | This command MUST be issued when a color component level has changed.
Door Lock | Door Lock Operation Report | This command MUST be issued by a node when it has completed a lock/unlock operation initiated locally.
| Door Lock Configuration Report | This command MUST be issued by when the Door Lock configuration has changed.
Device Reset Locally | Device Reset Locally Notification | This command MUST be issued by a node when it has been locally or manually reset to factory default.
Entry Control | Entry Control Notification | This command MUST be issued by a node when a user input has exceeded key cache size or key cache timeout.
Irrigation | Irrigation System Status Report | This command MUST be issued when a system error has occured.
Indicator | Indicator Report | This command SHOULD be issued when an indicator property has changed.
Meter | Meter Report | This command MUST be issued periodically to report the current Meter reading. The sending frequency is up to the implementation. It is RECOMMENDED to implement a minimum reporting interval (for example, every 70 minutes) and send additional reports when a measurement variation occurred A node supporting multiple meter types MUST advertise readings for all of the supported types via the Lifeline Group. Each meter type MAY have a different timing mechanism for reporting its readings.
Multilevel Sensor | Multilevel Sensor Report | This command MUST be issued periodically to report the current Multilevel sensor reading. The sending frequency is up to the implementation. It is RECOMMENDED to implement a minimum reporting interval (for example, every 70 minutes) and send additional reports when a measurement variation occurred. A node supporting multiple sensor types MUST advertise readings for all of the supported types via the Lifeline Group. Each sensor type MAY have a different timing mechanism for reporting its readings.
Multilevel Switch | Multilevel Switch Report | This command MUST be issued when the multilevel switch value has changed (and reached a final state)
Notification | Notification Report | This command MUST be issued by Push nodes every time a new event is detected or when a state variable has changed state.
Sound Switch | Sound Switch Configuration Report | This command MUST be issued when volume or default tone has changed.
| Sound Switch Play Report | This command MUST be issued when a tone has started playing.
Thermostat Mode | Thermostat Mode Report | This command MUST be issued when the Thermostat Mode has changed.
Thermostat Setback | Thermostat Setback Report | This command MUST be issued when the Thermostat Setback has changed.
Thermostat Setpoint | Thermostat Setpoint Report | This command MUST be issued when the Thermostat Setpoint setting has changed.
User Code | User Code Report | This command MUST be issued when a User Code record is modified.
| User Code Keypad Mode Report | This command MUST be issued when the Keypad Mode has been modified.
| Master Code Report | This command MUST be issued when the Master Code has been modified.
| Extended User Code Report | This command MUST be issued when a User Code record with user identifier > 255 has been modified.
Window Covering | Window Covering Report | This command MUST be issued when a Parameter ID has changed value.